{"text_format":"5","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"props":{"creator":"Bryce Dewees","last_modified_by":"Survey RB"},"read":"whole","wrapped":"gz","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":56,"n_cols":6,"rows_kept":56,"merged":[[0,0,0,1],[9,0,10,5]]}
["NOAA Ship Ronald H. Brown"]
["Project Number","RB2200"]
["Project Name","Transit to Miami"]
["Chief Scientist "]
["Organizations Involved"]
["Departure Date","2022-01-07"]
["Departure Port","Praia, Cape Verde"]
["Arrival Date","2022-02-01"]
["Arrival Port","Pascagoula, MS"]
["System Log"]
[]
["Date (UTC)","System Name","Status","Time (UTC)","Local Time Zone","Notes"]
["2022-01-07","SCS","on","08:41:42",-1,"Cruise Start Up"]
["2022-01-07","ADCP","on","09:26:15",-1,"Cruise Start Up"]
["2022-01-07","Multibeam","on","10:18:00",-1,"Starting pinging: not recording "]
["2022-01-07","Seawater","on","16:14:00",-1,"Cruise Start Up, Pump 2"]
["2022-01-07","TSG","on","16:14:00",-1,"Cruise Start Up"]
["2022-01-07","pCO2","on","16:16:00",-1,"Cruise Start Up"]
["2022-01-07","2nd pCO2","on","16:16:00",-1,"Cruise Start Up"]
["2022-01-08","SCS Shut Down ","off","08:49:00",-1,"Shut down to run as admin"]
["2022-01-08","SCS Start Up","on","09:01:00",-1,"Running with the right permissions"]
["2022-01-08","Seawater","off","16:33:00",-1,"Shut down anchoring close to shore"]
["2022-01-08","TSG","off","16:33:00",-1,"Shut down anchoring close to shore"]
["2022-01-08","pCO2","off","16:33:00",-1,"Shut down anchoring close to shore"]
["2022-01-08","2nd pCO2","off","16:33:00",-1,"Shut down anchoring close to shore"]
["2022-01-09","SCS Shut Down ","off","09:23:00",-1,"Shut down to correct input for wind speed to Gyro 1 from Gyro 2 due to error"]
["2022-01-09","SCS Start Up","on","09:26:00",-1,"Restarted problem resloved"]
["2022-01-11","Seawater","on","12:14:00",-1,"left anchor site; Pump 2"]
["2022-01-11","TSG","on","12:21:00",-1,"restart system"]
["2022-01-11","pCO2","on","14:01:00",-1,"restart system"]
["2022-01-12","pCO2","off","09:22:00",-1,"Turned off to troubleshoot large amount of data being sent off the ship "]
["2022-01-12","pCO2","on","09:54:00",-1,"restarted system "]
["2022-01-15","POS MV","on","09:26:00",-1,"Start logging "]
["2022-01-15","MBES","on","09:26:00",-1,"Start logging "]
["2022-01-15","MBES","off","14:00:00",-1,"Stop logging- not outside Cape Verde EEZ"]
["2022-01-15","POS MV","off","14:00:00",-1,"Stop logging- not outside Cape Verde EEZ"]
["2022-01-15","pCO2","off","21:10:00",-1,"Computer shut shut down- reason unknown- updates?"]
["2022-01-16","pCO3","on","08:19:00",-1,"Computer restarted Acq restarted"]
["2022-01-16","POS MV","on","00:31:00",-1,"Start logging out of EEZ"]
["2022-01-16","MBES","on","00:55:00",-1,"Start logging out of EEZ"]
["2022-01-16","pCO2","on","08:16:00",-2,"restart both PC02 systems computers restarted sometime over night emailed denis"]
["2022-01-23","MBES","on","09:45:00",-4,"restart logging- never turned back on after UTC midnight "]
["2022-01-23","MBES","off","18:30:00",-4,"Stopped Logging entered Turks and Caicos EEZ"]
["2022-01-26","Seawater/TSG","off","12:00:00",-4,"Stopped alongside Port Everglades, FL "]
["2022-01-26","ADCP","off","14:55:00",-4,"Stopped alongside Port Everglades, FL; placed into passive"]
["2022-01-28","Seawater","on","22:05:00",-4,"Restarted system departing Port Everglades "]
["2022-01-28","TSG","on","22:09:00",-4,"Restarted system departing Port Everglades "]
["2022-01-28","ADCP","on","22:11:00",-4,"Restarted system departing Port Everglades "]
["2022-01-28","MBES","on","22:20:00",-4,"Restarted system departing Port Everglades "]
["2022-01-29","Seawater","off","00:16:00",-4,"Pumped turned off flooding in Hydro lab- water coming ouut of tubbing next to drain left by PCO2 system that was removed in Port Everglades"]
["2022-01-29","Seawater","on","00:48:00",-4,"Restarted tubing removed and pipe capped off"]
["2022-02-01","MBES","off","10:01:00",-6,"Shut down; end of cruise "]
["2022-02-01","TSG/Seawater","off","11:34:00",-6,"Shut down; end of cruise "]
["2022-02-01","POS MV","off","11:58:00",-6,"Shut down; end of cruise "]
["2022-02-01","SCS","off","16:21:00",-6,"Shut down; end of cruise "]
["2022-02-01","ADCP","off","16:23:00",-6,"Shut down; end of cruise "]